To

# M/S	--.

-	,

# FINAL NOC FORMAT

Form-C

A/C No.------------------

Memo No.	/ RID No ------------	Dated:	/	/

Sub:  Final NOC for the approval of ----------------- kW AC/	kWp DC Solar

Plant under Electricity A/C No.	-------------------- with present Sanctioned Load/Contract Demand of --------------- kW/---------- kVA for M/s ---------------------

-	in Synchronization/parallel with PSPCL where no sale of power

is involved (RID no	).

Ref:	Protection clearance report issued by Protection Wing vide memo no. --------

---- Dated----------------

With respect to subject and letters referred above, your request for sanction to run (----------- kWp DC-----------------kW AC) Solar Plant in synchronization/parallel with PSPCL Grid, for your own consumption/self-use only (where no sale/export of power is allowed) has been considered and approved subject to submission of all the requisite statutory clearances and following Conditions:

- Injection of any power in the system of PSPCL/PSTCL grid system shall be treated as dump power and no payment shall be made.

- The firm (M/s ---------------------------------------) shall install the protective devices/Relays including Reverse power flow trip relay or any other equipment etc. as per the approved SLD drawing.

- Suitable energy meters duly tested from PSPCL's Lab & sealed by ASE/Sr.Xen (DS) shall be installed by the firm at their end to record the generation of power from CPP for energy audit as per the approved SLD and standing instructions etc. of PSPCL in this regard.

- Charges as prescribed by PSPCL/PSERC for CPP plants will be payable by the firm. Charges in the form of one time permission fee will be payable by the firm seeking connectivity with the grid and operation in synchronism with the grid at the rates specified in the Tariff order/Schedule of General Charges.

- Compliance of State Grid Code and Indian Electricity Grid Code will be ensured by the consumer as in this case the Solar Plant is to be connected in parallel with the Grid and the appropriate meter and metering equipment of appropriate class of accuracy as per Grid Code shall be installed by the firm.

- The firm has obtained the clearance from Chief Electrical Inspector for all the electrical installation including line clearance prior to synchronizing their solar plant.

- The firm shall obtain registration of the generating unit in the registry maintained by Central Electricity Authority (CEA) prior to synchronization their solar plant. (If not obtained earlier).

- The firm has obtained the Protection clearance from PSPCL for all the electrical installation prior to synchronizing their solar plant.

- The firm shall comply with Renewable Purchase Obligations (RPO) regulations issued by Hon'ble PSERC vide notification no. PSERC/Secy./Reg./55 dated 03.06.2011 as amended from time to time and instructions issued by PSPCL vide Commercial Circular no. 20/2019.

- The Automatic inverter to be installed for Synchronization shall be equipped with inbuilt phase matching.

- Third Party sale shall not be allowed. Firm shall continue to be governed by other Commercial instructions issued by the PSPCL as agreed to and shall continue to pay charges as per tariff/instructions of PSPCL.

- Firm shall install necessary current limiting devices such as thyristors in the generating equipment. Every plant owner shall generate matching MVARs so that monthly average power factor does not exceed 0.90 or as specified from time to time.

- After obtaining receipt of this permission, the firm will give notice of not less than 7 days (seven days) to the concerned Distt. Magistrate in terms of Section-54 of the Electricity Act, 2003 intimating the nature and purpose of supply.

- The total installed capacity of Solar Plant shall be ----------------- kW AC / -----------

-   kWp DC. However the approval is further subject to the condition that no sale

of power to PSPCL shall be involved.

- All relevant instructions of ESIM-2018, Supply Code and Related Matters Regulations (with up to date amendments) as approved by PSERC, CEA/ NRSE policy-2012, CPP Regulation-2009 (amended from time to time) and any other relevant instructions shall be complied with by the firm.

Apart from above conditions, (M/s	), shall strictly adhere to

all the applicable & up-date rules and regulations of PSPCL, CEA, PSERC & NRSE Policy-2012 (amended from time to time).

Permission fee shall stand forfeited if the technical requirements are not complied with. It shall be ensured by this office before the synchronization of above Solar Plant that there is no violation of PSPCL rules and regulations.

CC:-

(Competent Authority of DS Organization) Signature with stamp

- The Chief Engineer/ NRSE & Thermal Design, PSPCL, Shakti Vihar, Patiala.

- The Chief Electrical Inspector to Govt. of Punjab Patiala.